## Laboratory description
ICP Forests
Laboratory code | XX_000
Name of laboratory
Address
Town
ZIP
Country
Country code
Telephone
Fax
Person in charge of the ICPF project
E-mail
Person in charge of the laboratory
Permanent staff (n. of persons)
Other analysts (n. of persons)

## Details of the used method
ICP Forests
Laboratory code | XX_000
Laboratory | 0
Country | 0
Contact person:
| Method | Method |  |  |  |  | Range of | Limit | Limit | Control | Blank | Use of certified
Variable | acronym 1 | acronym 2 | Equipment | Official method | Internal method | Reference | measurement | of detection | of quantification | chart | chart | standards | Comments
| see METHOD List | see METHOD List |  | (ISO or other) | (if yes, please details) |  |  | LOD=3*SDblank | LOD=10*SDblank | (yes / no) | (yes / no) | (yes / no)
pH
Conductivity (µS cm-1 25 °C)
Alkalinity (µeq L-1)
Sulphate (mg S L-1)
Nitrate (mg N-NO3 L-1)
Chloride (mg L-1)
Ca (mg L-1)
Mg (mg L-1)
Na (mg L-1)
K (mg L-1)
Ammonium (mg N-NH4 L-1)
Total nitrogen - Oxidation
Total nitrogen - Determination (mg N L-1)
DOC (mg C L-1)
Phosphate (mg PO4 L-1)
Metals (please detail)
Aluminum (µg L-1)
Cadmium (µg L-1)
Cobalt (µg L-1)
Copper (µg L-1)
Iron (µg L-1)
Mercury (µg L-1)
Manganese (µg L-1)
Molybdenum (µg L-1)
Nickel (µg L-1)
Lead (µg L-1)
Zinc (µg L-1)
Metal 12
Metal 13
Metal 14
Metal 15
Reference
(1) -
(2) -
(3) -
(4) -
(5) -
(6) -
(7) -
(8) -
(9) -
(10) -
ASTM 5176-91. Standard test method for nitrogen in water by pyrolysis and chemiluminescence detection.
ISO 7150/1. Water quality - determination of ammonium - part. 1: Manual spectrometric method.
ISO 7888. Water quality - determination of electrical conductivity
ISO 8245. Water quality - guitelines for determination of total organic catbon (TOC) and dissolved organic carbon (DOC)
ISO 10304-1. Water quality - Determination of dissolved fluoride, chloride, nitrite, orthophosphate, bromide, nitrate and sulphate ions, using liquid chromatography of ions. Part. 1: method for water with low contamination.
ISO 10523. Water quality - determination of pH
ISO 11885. Water quality. Determination of 33 elements by inductively coupled plasma atomic emission spectrometry.
ISO 14911. Water quality - determination of dissolved Li+, Na+, NH4+, K+, Mn2+, Ca2+, Mg2+, Sr2+, and Ba2+ using ion chromatography - method for water and waste water.
EN 12260. Water analysis - Determination of Nitrogen - Determination of bound nitrogen, after combustion and oxidation to nitrogen dioxide, using chemiluminescence detection. European Committee for Standardization, Brussels. 1996.

## Data validation
ICP Forests
Laboratory code | XX_000
Laboratory: | 0
Country | 0
Contact person: | 0
Data validation | (Yes / No) | Threshold criteria | Comments
Ion balance
Conductivity check
Sodium to chloride ratio
Nitrogen check
Other (please detail)
Notes on data validation (see Data Validation.xls file and ICP Forests manual for details)
Quality criteria for the ion balance:
PD=Ions % Diff. sC-sA =100x(S Cat - S An) / 0.5x(S Cat + S An)
if Cond < = 20 µS/cm, accepted if PD between +/- 20%.
if Cond > 20 µS/cm, accepted if PD between +/- 10%.
Quality criteria for conductivity:
CD = % Diff. (CEc -CM) = 100 x (CEc -CM) / CM
if Cond < =10 µS/cm, accepted if CD between +/- 30%;
if Cond > 10 µS/cm and Cond <= 20 µS/cm, accepted if CD between +/- 20%;
if Cond > 20 µS/cm, accepted if CD between +/- 10%;
Quality ratio sodium to chloride ratio (Na/Cl) OK for values between 0.5 and 1.5.
Organic nitrogen (ON) is calculated from total nitrogen (TN) minus N-NO3 and N-NH4.
ON must be a positive value or zero. If it is negative, something is wrong in the analyses.

## METHOD List
ICP Forests | Method LIST
Variable | Method | Description | Acronym 1 | Acronym 2
pH
Potentiometric
|  | Low ionic strength electrode | LIS
|  | Not specified | GEN
CONDUCTIVITY | Conductometric
|  | Measurement performed at 25 °C | 25°
|  | Measurement performed at different temp. and corrected to 25 °C | CORR
ALKALINITY | Potentiometric titration, extrapolation of the equivalent point
|  | Two end-points | PT_EX | 2PF
|  | Gran titration | PT_EX | Gran
|  | Inflection point detection | PT_EX | Infl
Potentiometric titration, single end-point pH
|  | end-point 4.3 | PT_1 | 4.3
|  | end-point 4.4 | PT_1 | 4.4
|  | end-point 4.5 | PT_1 | 4.5
|  | other end-point (please specify) | PT_1
Colorimetric titration
|  | Bromocresol green indicator | CT | Br
|  | Methyl orange indicator | CT | Met
|  | Mixed indicator | CT | Mix
|  | Phenolphtalein indicator | CT | Phe
| Conductometric titration |  | COND
| Continuous flow | Methyl orange indicator | CF | Met
SULPHATE | Ion chromatography
|  | Chemical or electrochemical eluent suppression | IC | CS
|  | Without eluent suppression | IC | WS
|  | UV detection | IC | UV
| Ion capillary electrophoresis |  | CIA
Continuous flow
|  | Ba sulphate excess, methyl thymol | CF | Met
| Nephelometry |  | NFT
Spectrophotometry
|  | Ba sulphate excess, methyl thymol | SPEC | Met
|  | Ba chloranilate excess, thorin | SPEC | Th
| Turbidimetry |  | TURB
NITRATE | Spectrophotometry
|  | Cadmium reduction | SPEC | Cd
|  | UV detection 220 nm | SPEC | UV220
|  | Phenoldisulphonic acid | SPEC | Phe
Continuous flow
|  | Cd reduction | CF | Cd
|  | Cu, hydrazine reduction | CF | Cu_Hyd
Ion chromatography
|  | Chemical or electrochemical eluent suppression | IC | CS
|  | Without eluent suppression | IC | WS
|  | UV detection 220 nm | IC | UV220
| Ion capillary electrophoresis |  | CIA
| Ion selective electrode |  | EL
CHLORIDE | Ion chromatography
|  | Chemical or electrochemical eluent suppression | IC | CS
|  | Without eluent suppression | IC | WS
|  | UV detection | IC | UV
| Ion capillary electrophoresis |  | CIA
Continuous flow
|  | Hg nitrate with diphenilcarbazone | CF | Hg
|  | Hg-thiocyanate in presence of ferric ion | CF | HgFe
Colorimetric titration
|  | Hg nitrate titration with diphenilcarbazone | CT | Hg
| Ion selective electrode |  | EL
|  | Titration with Ag nitrate | EL | Ag
Spectrophotometry
|  | Hg thiocyanate in presence of ferric ion | SPEC | HgFe
| Silver nitrate titration |  | TIT_Ag
|  | potassium chromate indicator | TIT_Ag | Cr
CALCIUM | Atomic absorption spectrometry |  | AAS
| EDTA titration |  | EDTA
Ion chromatography
|  | Chemical or electrochemical eluent suppression | IC | CS
|  | Without eluent suppression | IC | WS
| Inductively coupled plasma optical emission spectrometry |  | ICP | OES
| Inductively coupled plasma mass spectrometry |  | ICP | MS
MAGNESIUM | Atomic absorption spectrometry |  | AAS
| EDTA titration |  | EDTA
Ion chromatography
|  | Chemical or electrochemical eluent suppression | IC | CS
|  | Without eluent suppression | IC | WS
| Inductively coupled plasma optical emission spectrometry |  | ICP | OES
| Inductively coupled plasma mass spectrometry |  | ICP | MS
SODIUM | Atomic absorption spectrometry |  | AAS
| Atomic emission spectrometry |  | AES
Ion chromatography
|  | Chemical or electrochemical eluent suppression | IC | CS
|  | Without eluent suppression | IC | WS
| Inductively coupled plasma optical emission spectrometry |  | ICP | OES
| Inductively coupled plasma mass spectrometry |  | ICP | MS
POTASSIUM | Atomic absorption spectrometry |  | AAS
| Atomic emission spectrometry |  | AES
Ion chromatography
|  | Chemical or electrochemical eluent suppression | IC | CS
|  | Without eluent suppression | IC | WS
| Inductively coupled plasma optical emission spectrometry |  | ICP | OES
| Inductively coupled plasma mass spectrometry |  | ICP | MS
AMMONIUM | Spectrophotometry
|  | Nessler method | SPEC | Nes
|  | Indophenol blue | SPEC | Phe
|  | Bis pyrazolon | SPEC | Pyr
Continuous flow analysis
|  | Ammonia diffusion | CF | GD
|  | Indophenol blue | CF | Phe
| Ion selective electrode |  | EL
Ion chromatography
|  | Chemical or electrochemical eluent suppression | IC | CS
|  | Without eluent suppression | IC | WS
TOTAL NITROGEN | Oxidation to nitrate:
| Hydrolysis with K2S2O8 + H3BO3 + NaOH |  | PSB
| Persulfate digestion (K2S2O8 + H2SO4) |  | PSH
| Persulfate digestion (K2S2O8 + NaOH) |  | PSOH
| Kjeldahl nitrogen (Organic forms+NH4+NO2+NO3) |  | KJELD
| Chemoluminescence |  | CHML
Determination of nitrate:
Spectrophotometry
|  | Cadmium reduction | SPEC | Cd
|  | UV detection 220 nm | SPEC | UV220
|  | Phenoldisulphonic acid | SPEC | Phe
Continuous flow
|  | Cadmium reduction | CF | Cd
|  | Cu, hydrazine reduction | CF | Cu_Hyd
Ion chromatography
|  | Chemical or electrochemical eluent suppression | IC | CS
|  | Without eluent suppression | IC | WS
|  | UV detection 220 nm | IC | UV220
| Ion capillary electrophoresis |  | CIA
| Ion selective electrode |  | EL
PHOSPHATE | Spectrophotometry
|  | Ammonium molybdate, potassium antimonyl tartrate, ascorbic acid or SnCl2 reduction | SPEC | Mor
|  | Vanadomolybdophosphoric acid | SPEC | Mov
Continuous flow analysis
|  | Ammonium molybdate, potassium antimonyl tartrate, ascorbic acid or SnCl2 reduction | CF | Mor
|  | Vanadomolybdophosphoric acid | CF | Mov
Ion chromatography
|  | Chemical or electrochemical eluent suppression | IC | CS
|  | Without eluent suppression | IC | WS
|  | UV detection | IC | UV
| Inductively coupled plasma optical emission spectrometry |  | ICP | OES
| Inductively coupled plasma mass spectrometry |  | ICP | MS
DOC | Thermal combustion and IR detection |  | THIR
Persulphate+UV oxidation
|  | IR detection | PSH_UV | IR
|  | Phenolphtalein detection | PSH_UV | Phe
Spectrophotometry
|  | UV detection 320 nm | SPEC | UV320
|  | UV detection 240 nm | SPEC | UV240
ALUMINUM | Atomic absorption spectrometry
|  | Flame | AAS | Flame
|  | Graphite furnace | AAS | GFA
| Spectrophotometry | Acid digest and pyrocathechol violet determination | SPEC | Pyc_vi
| Inductively coupled plasma optical emission spectrometry |  | ICP | OES
| Inductively coupled plasma mass spectrometry |  | ICP | MS
CADMIUM | Atomic absorption spectrometry
|  | Flame | AAS | Flame
|  | Graphite furnace | AAS | GFA
| Inductively coupled plasma optical emission spectrometry |  | ICP | OES
| Inductively coupled plasma mass spectrometry |  | ICP | MS
COBALT | Atomic absorption spectrometry
|  | Flame | AAS | Flame
|  | Graphite furnace | AAS | GFA
| Inductively coupled plasma optical emission spectrometry |  | ICP | OES
| Inductively coupled plasma mass spectrometry |  | ICP | MS
COPPER | Atomic absorption spectrometry
|  | Flame | AAS | Flame
|  | Graphite furnace | AAS | GFA
| Inductively coupled plasma optical emission spectrometry |  | ICP | OES
| Inductively coupled plasma mass spectrometry |  | ICP | MS
IRON | Atomic absorption spectrometry
|  | Flame | AAS | Flame
|  | Graphite furnace | AAS | GFA
| Inductively coupled plasma optical emission spectrometry |  | ICP | OES
| Inductively coupled plasma mass spectrometry |  | ICP | MS
MERCURY | Atomic absorption spectrometry
|  | Cold vapour atomic absorption | AAS | CV
| Inductively coupled plasma optical emission spectrometry |  | ICP | OES
| Inductively coupled plasma mass spectrometry |  | ICP | MS
| Atomic fluorescence with Au amalgamation method |  | AF | Au_ama
MANGANESE | Atomic absorption spectrometry
|  | Flame | AAS | Flame
|  | Graphite furnace | AAS | GFA
| Inductively coupled plasma optical emission spectrometry |  | ICP | OES
| Inductively coupled plasma mass spectrometry |  | ICP | MS
MOLYBDENUM | Atomic absorption spectrometry
|  | Flame | AAS | Flame
|  | Graphite furnace | AAS | GFA
| Inductively coupled plasma optical emission spectrometry |  | ICP | OES
| Inductively coupled plasma mass spectrometry |  | ICP | MS
NICKEL | Atomic absorption spectrometry
|  | Flame | AAS | Flame
|  | Graphite furnace | AAS | GFA
| Inductively coupled plasma optical emission spectrometry |  | ICP | OES
| Inductively coupled plasma mass spectrometry |  | ICP | MS
LEAD | Atomic absorption spectrometry
|  | Flame | AAS | Flame
|  | Graphite furnace | AAS | GFA
| Inductively coupled plasma optical emission spectrometry |  | ICP | OES
| Inductively coupled plasma mass spectrometry |  | ICP | MS
ZINC | Atomic absorption spectrometry
|  | Flame | AAS | Flame
|  | Graphite furnace | AAS | GFA
| Inductively coupled plasma optical emission spectrometry |  | ICP | OES
| Inductively coupled plasma mass spectrometry |  | ICP | MS
PHOSPHORUS
| Inductively coupled plasma optical emission spectrometry |  | ICP | OES
| Inductively coupled plasma mass spectrometry |  | ICP | MS
SULPHUR
| Inductively coupled plasma optical emission spectrometry |  | ICP | OES
| Inductively coupled plasma mass spectrometry |  | ICP | MS
SILICON
Spectrophotometry
|  | Ammonium molybdate, oxalic acid, SnCl2 or other reduction | SPEC | Moxr
|  | Ammonium molybdate, oxalic acid, without reduction | SPEC | Mox
Continuous flow analysis
|  | Ammonium molybdate, oxalic acid, SnCl2 or other reduction | CF | Moxr
|  | Ammonium molybdate, oxalic acid, without reduction | CF | Mox
| Inductively coupled plasma optical emission spectrometry |  | ICP | OES
| Inductively coupled plasma mass spectrometry |  | ICP | MS